## VALVES
BUTTERFLY VALVES
TYPE | SIZE |  | RATING |  | ENDS | MANUFACTURER | DESCRIPTION | BODY | TRIM | QTY
| MM | INCH
A LARGE RANGE OF GLOBAL SUPPLY LINE STOCK HOLDINGS ARE MANUFACTURED USING CASTINGS FROM API6A, 20A LICENSED AND LLOYDS/DNV OFFSHORE/SHIPPING APPROVED
CASTING FOUNDARIES.
BUTTERFLY | 25 | 1 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 6
BUTTERFLY | 50 | 2 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 50 | 2 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 12
BUTTERFLY | 50 | 2 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 50 | 2 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=316 | 7
BUTTERFLY | 50 | 2 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 10
BUTTERFLY | 50 | 2 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 50 | 2 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 50 | 2 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=PTFE ST=316 | 10
BUTTERFLY | 50 | 2 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 20 BAR | DI | D=316 S=BUNA ST=316 | 30
BUTTERFLY | 50 | 2 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 30
BUTTERFLY | 50 | 2 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 20 BAR | DI | D=316 S=EPDM ST=316 | 60
BUTTERFLY | 50 | 2 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 50 | 2 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=316 | 6
BUTTERFLY | 50 | 2 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | WCB | D=316 S=BUNA ST=17-4PH | 1
BUTTERFLY | 50 | 2 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4PH | 4
BUTTERFLY | 50 | 2 | TABLE E |  | WAFER | AMRI | LINED LO | DI | D=BRZ S=EPDM ST=BRZ | 106
BUTTERFLY | 50 | 2 | TABLE E |  | WAFER | DENNIS | LINED LO | CI | D=316 S=PTFE ST=316 | 50
BUTTERFLY | 50 | 2 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 24
BUTTERFLY | 50 | 2 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=VITON ST=316 | 200
BUTTERFLY | 50 | 2 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=PTFE S=PTFE ST=PTFE | 7
BUTTERFLY | 50 | 2 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 60
BUTTERFLY | 50 | 2 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | DI | D=316 S=EPDM ST=316 | 160
BUTTERFLY | 50 | 2 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 50 | 2 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 65 | 2.5 | 125 | CL. | WAFER | AMRI | LINED LO | CI | D=PTFE S=PTFE ST=PTFE | 10
BUTTERFLY | 65 | 2.5 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 65 | 2.5 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 65 | 2.5 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 110
BUTTERFLY | 65 | 2.5 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 2000KPA | WCB | D=316 S=NITRILE ST=316 | 5
BUTTERFLY | 65 | 2.5 | 150 | CL. | RF WAFER | SUPERSEAL | HP DE NF LO | WCB | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 65 | 2.5 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4PH | 2
BUTTERFLY | 65 | 2.5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 20
BUTTERFLY | 65 | 2.5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 160
BUTTERFLY | 65 | 2.5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=PTFE S=PTFE ST=PTFE | 5
BUTTERFLY | 65 | 2.5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=PTFE ST=316 | 3
BUTTERFLY | 65 | 2.5 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 15
BUTTERFLY | 65 | 2.5 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 80 | 3 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 6
BUTTERFLY | 80 | 3 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=NBR ST=316 | 26
BUTTERFLY | 80 | 3 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 30
BUTTERFLY | 80 | 3 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8 | D=316 SI=RPTFE ST=316 | 13
BUTTERFLY | 80 | 3 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 80 | 3 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 16
BUTTERFLY | 80 | 3 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 14
BUTTERFLY | 80 | 3 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 16
BUTTERFLY | 80 | 3 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=316 | 5
BUTTERFLY | 80 | 3 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO NICKLE ALUMINIUM BRONZE | NIABZ | D=MONEL RPTFE ST=MONEL | 4
BUTTERFLY | 80 | 3 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO ISO5208 AA | WCB | D=316 S=METAL ST=316 | 3
BUTTERFLY | 80 | 3 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 80 | 3 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 80 | 3 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 80 | 3 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 20 BAR | CF8M | D=316 S=PTFE ST=316 | 8
BUTTERFLY | 80 | 3 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | DI | D=316 S=PTFE ST=316 17-4 PH+ENP | 3
BUTTERFLY | 80 | 3 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 12
BUTTERFLY | 80 | 3 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=EPDM ST=316 | 12
BUTTERFLY | 80 | 3 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 20 BAR | WCB | D=316 S=BUNA ST=431 | 20
BUTTERFLY | 80 | 3 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 16 BAR | WCB | D=316 S=BUNA ST=316 | 20
BUTTERFLY | 80 | 3 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8 | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 80 | 3 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 2
BUTTERFLY | 80 | 3 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO ISO5208 AA | CF8M | D=316 S=METAL ST=F51+ENP | 4
BUTTERFLY | 80 | 3 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 3
BUTTERFLY | 80 | 3 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 80 | 3 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4 PH | 10
BUTTERFLY | 80 | 3 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 80 | 3 | PN25 | CL. | WAFER | SUPERSEAL | LINED LO 25 BAR | DI | D=316 S=NBR ST=316 | 18
BUTTERFLY | 80 | 3 | PN25 | CL. | WAFER | SUPERSEAL | LINED LO 25 BAR | DI | D=316 S=EPDM ST=316 | 18
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 30
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 80 | 3 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 55
BUTTERFLY | 80 | 3 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 30
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 60
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 50
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=VITON ST=316 | 20
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | DI | D=PTFE S=PTFE ST=PTFE | 34
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 80 | 3 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=PTFE ST=316 | 8
BUTTERFLY | 80 | 3 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 8
BUTTERFLY | 80 | 3 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=EPDM ST=316 | 12
BUTTERFLY | 80 | 3 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=NBR ST=316 | 12
BUTTERFLY | 80 | 3 | TABLE H |  | WAFER | SUPERSEAL | HP DE NF LO 35 BAR | WCB | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 100 | 4 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 100 | 4 | 125 | CL. | WAFER | SUPERSEAL | LINED LO 20 BAR | CI | D=316 S=BUNA ST=316 | 40
BUTTERFLY | 100 | 4 | 150 | CL. | LUGGED | APV-SUPERSEAL | LINED LO | ABZ | D=ABZ S=BUNA ST=ABZ | 1
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO CLV | CF8 | D=316 S=METAL ST=316+ENP | 3
BUTTERFLY | 100 | 4 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=INC 718 | 10
BUTTERFLY | 100 | 4 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=INC 718 | 4
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 7
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=PTFE ST=316 | 8
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO CLV | CF8M | D=316 S=METAL ST=316+ENP | 2
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 10
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 S=PTFE ST=316 | 4
BUTTERFLY | 100 | 4 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO NICKLE ALUMINIUM BRONZE | NIABZ | D=MONEL RPTFE ST=MONEL | 4
BUTTERFLY | 100 | 4 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 20
BUTTERFLY | 100 | 4 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO CLVI | WCB | D=316 S=METAL ST=316 | 3
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 20
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 6
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO CLV | WCB | D=316 S=METAL ST=316 | 4
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | WCB | D=316 SI=RPTFE ST=316 | 6
BUTTERFLY | 100 | 4 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 20 BAR | 316 | D=PTFE S=PTFE ST=PTFE | 4
BUTTERFLY | 100 | 4 | 150 | CL. | RF WAFER | SUPERSEAL | HP DE NF LO | CF8 | D=316 SI=PTFE ST=316 | 2
BUTTERFLY | 100 | 4 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=XM19 | 10
BUTTERFLY | 100 | 4 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 20 BAR | DI | D=316 S=NBR ST=316 | 30
BUTTERFLY | 100 | 4 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | DI | D=PTFE S=PTFE ST=PTFE | 1
BUTTERFLY | 100 | 4 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 50
BUTTERFLY | 100 | 4 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 20 BAR | WCB | D=316 S=BUNA ST=316 | 30
BUTTERFLY | 100 | 4 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO 20 BAR | WCB | D=316 S=BUNA ST=17-4 PH | 8
BUTTERFLY | 100 | 4 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8 | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 100 | 4 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 4
BUTTERFLY | 100 | 4 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 6
BUTTERFLY | 100 | 4 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO (5208-A) | CF8M | D=316 S=METAL ST=F51+ENP | 2
BUTTERFLY | 100 | 4 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4PH | 20
BUTTERFLY | 100 | 4 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | WCB | D=316 SI=RPTFE ST=17-4PH | 18
BUTTERFLY | 100 | 4 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO (5208-A) | WCB | D=316 S=METAL ST=316 | 4
BUTTERFLY | 100 | 4 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4PH | 18
BUTTERFLY | 100 | 4 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 S=RPTFE ST=17-4PH | 2
BUTTERFLY | 100 | 4 | PN16 | CL. | RF LUGGED | SUPERSEAL | LINED EN1092-2 | DI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 100 | 4 | PN25 |  | WAFER | SUPERSEAL | LINED LO FS BAR | DI | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 100 | 4 | PN25 |  | WAFER | SUPERSEAL | LINED LO FS BAR | DI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 100 | 4 | TABLE D |  | LUGGED | SUPERSEAL | LINED LO AS4087 PN14/16 | CI | D=316 S=EPDM ST=316 | 18
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SAUNDERS | LINED LO HRL BODY | CI | D=HRL S=BUNA ST=316 | 7
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 20
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 3
BUTTERFLY | 100 | 4 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 14
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 24
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=VITON ST=316 | 12
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=PTFE ST=316 | 10
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=VITON ST=316 | 12
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO 20 BAR | CI | D=316 S=BUNA ST=316 | 74
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | WCB | D=PTFE S=PTFE ST=PTFE | 7
BUTTERFLY | 100 | 4 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 100 | 4 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 100 | 4 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 25 BAR | DI | D=316 S=BUNA ST=316 | 20
BUTTERFLY | 100 | 4 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 25 BAR | DI | D=316 S=EPDM ST=316 | 12
BUTTERFLY | 100 | 4 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 50
BUTTERFLY | 125 | 5 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 6
BUTTERFLY | 125 | 5 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 4
BUTTERFLY | 125 | 5 | 150 | CL. | LUGGED | APV-SUPERSEAL | LINED LO 20 BAR | WCB | D=316 S= NBR ST=PH | 8
BUTTERFLY | 125 | 5 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 125 | 5 | 150 | CL. | LUGGED | DEMCO | LINED LO | DI | D=316 S=EPDM ST=316 | 5
BUTTERFLY | 125 | 5 | PN16 | CL. | RF LUGGED | SUPERSEAL | LO LD EN1092-2 | DI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | AMRI | LINED LO | CI | D=316 S=EPDM ST=316 | 90
BUTTERFLY | 125 | 5 | TABLE E |  | LUGGED | AMRI | LINED LO | DI | D=BRZ S=EPDM ST=BRZ | 25
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | BRAY | LINED LO HYGENIC | CI | D=316 S=EPDM ST=316 | 16
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | SAUNDERS | LINED LO HRL BODY | CI | D=316 S=BUNA ST=316 | 3
BUTTERFLY | 125 | 5 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 99
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 12
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 32
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=PTFE ST=316 | 8
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 120
BUTTERFLY | 125 | 5 | TABLE E |  | WAFER | SUPERSEAL | LINED GO 20 BAR | WCB | D=316 S=PTFE ST=316 | 5
BUTTERFLY | 125 | 5 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 15
BUTTERFLY | 150 | 6 | 125 | CL. | WAFER | SUPERSEAL | LINED GO | ALU | D=316 S=PTFE ST=316 | 6
BUTTERFLY | 150 | 6 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=NBR ST=316 | 16
BUTTERFLY | 150 | 6 | 125 | CL. | LUGGED | SUPERSEAL | LINED LO | CI | D=PTFE S=PTFE ST=PTFE | 7
BUTTERFLY | 150 | 6 | 125 | CL. | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 26
BUTTERFLY | 150 | 6 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | CF8 | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8 | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 150 | 6 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO | CF8M | D=316 S=METAL ST=316 | 1
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=316 | 5
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | CF8M | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP TE FS GO | CF8M | D=316 S=METAL ST=316 | 1
BUTTERFLY | 150 | 6 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO NICKLE ALUMINIUM BRONZE | NIABZ | D=MONEL RPTFE ST=MONEL | 2
BUTTERFLY | 150 | 6 | 150 | CL. | LUGGED | APV-SUPERSEAL | LINED LO 20 BAR | WCB | D=316 S=NITRILE ST=17-4 PH | 20
BUTTERFLY | 150 | 6 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=316 | 10
BUTTERFLY | 150 | 6 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | WCB | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 150 | 6 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP TE FS GO | WCB | D=316 S=METAL ST=17-4+ENP | 1
BUTTERFLY | 150 | 6 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 150 | 6 | 150 | CL. | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=PTFE ST=316 | 6
BUTTERFLY | 150 | 6 | 150 | CL. | LUGGED | SUPERSEAL | LINED GO | DI | D=316 S=EPDM ST=316 | 143
BUTTERFLY | 150 | 6 | 150 | CL. | RF LUGGED | SUPERSEAL | LINED LO 20 BAR | DI | D=316 S=BUNA ST=316 | 34
BUTTERFLY | 150 | 6 | 150 | CL. | WAFER | SUPERSEAL | LINED LO 20 BAR | DI | D=316 S=BUNA ST=316 | 14
BUTTERFLY | 150 | 6 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 150 | 6 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | CF8M | D=316 SI=RPTFE ST=316 | 6
BUTTERFLY | 150 | 6 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO CLV | CF8M | D=316 S=METAL ST=F51+ENP | 3
BUTTERFLY | 150 | 6 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF GO | CF8M | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 150 | 6 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 S=RPTFE ST=17-4 PH | 3
BUTTERFLY | 150 | 6 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 3
BUTTERFLY | 150 | 6 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4 PH | 4
BUTTERFLY | 150 | 6 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=17-4 PH | 9
BUTTERFLY | 150 | 6 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE GO CLV | WCB | D=316 S=METAL ST=F51+ENP | 7
BUTTERFLY | 150 | 6 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP TE FS GO CLVI | WCB | D=316 S=METAL ST=F51+ENP | 2
BUTTERFLY | 150 | 6 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 150 | 6 | PN16 |  | WAFER | FLOWTURN | LINED LO | DI | D=316 S=PTFE | 6
BUTTERFLY | 150 | 6 | PN16 | CL. | RF LUGGED | SUPERSEAL | LO LD EN1092-2 | DI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 150 | 6 | PN16 |  | LUGGED | SUPERSEAL | LINED LO AS2129 | CI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 150 | 6 | PN25 |  | WAFER | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=316 | 6
BUTTERFLY | 150 | 6 | PN25 |  | WAFER | SUPERSEAL | LINED LO | DI | D=316 S=NBR ST=316 | 6
BUTTERFLY | 150 | 6 | TABLE D |  | LUGGED | SUPERSEAL | LINED LO AS2129 AS4087 PN14 PN16 | CI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SAUNDERS | LINED LO HRL BODY | CI | D=HRL S=BUNA | 2
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 20
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 8
BUTTERFLY | 150 | 6 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 58
BUTTERFLY | 150 | 6 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=VITON ST=316 | 20
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED DA PNEU DA ACT | CI | D=316 S=BUNA ST=316 | 12
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=PTFE S=PTFE ST=PTFE | 8
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 40
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 50
BUTTERFLY | 150 | 6 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 150 | 6 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CF8M | D=316 S=EPDM ST=316 | 10
BUTTERFLY | 150 | 6 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 11
BUTTERFLY | 150 | 6 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=EPDM ST=316 | 11
BUTTERFLY | 200 | 8 | 125 | CL. | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 9
BUTTERFLY | 200 | 8 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | CI | D=PTFE S=PTFE ST=PTFE | 2
BUTTERFLY | 200 | 8 | 125 | CL. | LUGGED | SUPERSEAL | LINED GO | DI | D=316 S=EPDM ST=316 | 20
BUTTERFLY | 200 | 8 | 125 | CL. | WAFER | SUPERSEAL | LINED LO | DI | D=316 S=BUNA ST=316 | 16
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | CF8 | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 200 | 8 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=316 | 3
BUTTERFLY | 200 | 8 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF LO | CF8M | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO NICKLE ALUMINIUM BRONZE | NIABZ | D=MONEL RPTFE ST=MONEL | 3
BUTTERFLY | 200 | 8 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO NICKLE ALUMINIUM BRONZE | NIABZ | D=NI ALBRZ RPTFE ST=MONEL | 5
BUTTERFLY | 200 | 8 | 150 | CL. | RF FLANGED | APV-SUPERSEAL | HP TE FS GO ISO 5208-A | WCB | D=316 S=ST#21 ST=17-4 PH | 3
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=316 | 8
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS LO | WCB | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 200 | 8 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO ISO 5208-A | WCB | D=316 S=METAL ST=316 | 5
BUTTERFLY | 200 | 8 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=316 | 7
BUTTERFLY | 200 | 8 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 S=METAL ST=F51+ENP | 3
BUTTERFLY | 200 | 8 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=316+ENP | 6
BUTTERFLY | 200 | 8 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO | DI | D=316 S=EPDM ST=316 | 9
BUTTERFLY | 200 | 8 | 150 | CL. | LUGGED | SUPERSEAL | LINED LO | DI | D=316 S=BUNA ST=316 | 20
BUTTERFLY | 200 | 8 | 150 | CL. | LUGGED | SUPERSEAL | LINED CONCENTRIC LO 20 BAR | WCB | D=316 S=NITRILE ST=17-4 PH | 8
BUTTERFLY | 200 | 8 | 150 | CL. | LUGGED | TTV | LINED CONCENTRIC LO 16 BAR | WCB | D=AL BRONZE SI NBR ST=MONEL K500 | 1
BUTTERFLY | 200 | 8 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF GO | CF8 | D=304 SI=RPTFE ST=304 | 2
BUTTERFLY | 200 | 8 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 200 | 8 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 200 | 8 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO API598 | LCB | D=316 SI=METAL 316 | 1
BUTTERFLY | 200 | 8 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 4
BUTTERFLY | 200 | 8 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 6
BUTTERFLY | 200 | 8 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 200 | 8 | PN16 | CL. | RF LUGGED | SUPERSEAL | LO LD EN1092-2 | DI | D=316 S=NBR ST=316 | 20
BUTTERFLY | 200 | 8 | PN16 |  | LUGGED | SUPERSEAL | LINED LO AS4087 PN14/PN16 | CI | D=316 S=NBR ST=316 | 10
BUTTERFLY | 200 | 8 | PN25 |  | WAFER | APV-SUPERSEAL | LINED GO 25 BAR | DI | D=316 S=BUNA ST=316 | 8
BUTTERFLY | 200 | 8 | PN25 |  | WAFER | SUPERSEAL | LINED LO 25 BAR | DI | D=316 S=EPDM ST=316 | 15
BUTTERFLY | 200 | 8 | TABLE D |  | LUGGED | SUPERSEAL | LINED LO AS2129 | CI | D=316 S=NBR ST=316 | 10
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SAUNDERS | LINED GO UNIDI | CI | D=316 S=BUNA ST=316 | 2
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 8
BUTTERFLY | 200 | 8 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=NBR ST=316 | 25
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=VITON ST=316 | 6
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=VITON ST=316 | 4
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 26
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 26
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED PNEU DA ACTUATOR | CI | D=316 S=EPDM ST=316 | 6
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED GO 20 BAR | WCB | D=PTFE S=PTFE ST=PTFE | 2
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED GO 20 BAR | WCB | D=316 S=PTFE ST=316 | 2
BUTTERFLY | 200 | 8 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 5
BUTTERFLY | 200 | 8 | TABLE F |  | WAFER | APV-SUPERSEAL | HP DE NF GO | CF8 | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 200 | 8 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=BUNA ST=316 | 6
BUTTERFLY | 200 | 8 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=EPDM ST=316 | 15
BUTTERFLY | 200 | 8 | TABLE F |  | WAFER | SUPERSEAL | LINED LO 21 BAR | DI | D=316 S=NBR ST=316 | 15
BUTTERFLY | 250 | 10 | 125 | CL. | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=NBR ST=316 | 14
BUTTERFLY | 250 | 10 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 2
BUTTERFLY | 250 | 10 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO 316 CD (SPAIN) | NIALBZ | D=MONEL K500 SI=RPTFE ST=MONEL | 3
BUTTERFLY | 250 | 10 | 150 | CL. | LUGGED | APV-SUPERSEAL | LINED LO 20 BAR | WCB | D=316 S= NBR ST=17-4 | 8
BUTTERFLY | 250 | 10 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO ISO 5208-A | WCB | D=316/GRP S=ST#21 ST=17-4 PH+ENP | 2
BUTTERFLY | 250 | 10 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=316 | 6
BUTTERFLY | 250 | 10 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=CPTFE ST=316 | 8
BUTTERFLY | 250 | 10 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=316 | 12
BUTTERFLY | 250 | 10 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO ISO 5208-A | WCB | D=316 S=METAL ST=17-4 PH+ENP | 2
BUTTERFLY | 250 | 10 | 150 | CL. | WAFER | SUPERSEAL | LINED GO | CF8M | D=316 S=PTFE ST=F51+ENP | 6
BUTTERFLY | 250 | 10 | 150 | CL. | LUGGED | SUPERSEAL | LINED GO 20 BAR | DI | D=316 S=BUNA ST=416 | 40
BUTTERFLY | 250 | 10 | 150 | CL. | WAFER | SUPERSEAL | LINED GO 20 BAR | DI | D=316 S=BUNA ST=416 | 30
BUTTERFLY | 250 | 10 | 150 | CL. | WAFER | SUPERSEAL | LINED GO 16 BAR | DI | D=316 S=BUNA ST=316 | 50
BUTTERFLY | 250 | 10 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 S=CPTFE ST=17-4 PH+ENP | 6
BUTTERFLY | 250 | 10 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF | WCB | D=316 S=RPTFE ST=17-4 PH+ENP | 4
BUTTERFLY | 250 | 10 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 S=CPTFE ST=17-4 PH+ENP | 6
BUTTERFLY | 250 | 10 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 3
BUTTERFLY | 250 | 10 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO | WCB | D=316 S=316+RPTFE ST=17-4 PH 316 BODY SEAT | 1
BUTTERFLY | 250 | 10 | PN16 |  | LUGGED | SUPERSEAL | LINED LO AS4087 PN14/16 | DI | D=316 S=EPDM | 34
BUTTERFLY | 250 | 10 | PN25 |  | WAFER | SUPERSEAL | LINED LO 25 BAR | DI | D=316 S=VITON/EPDM ST=316 | 3
BUTTERFLY | 250 | 10 | TABLE D |  | LUGGED | SUPERSEAL | LINED LO | DI | D=316 S= EPDM ST=316 | 34
BUTTERFLY | 250 | 10 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 8
BUTTERFLY | 250 | 10 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 34
BUTTERFLY | 250 | 10 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=PTFE ST=316 | 1
BUTTERFLY | 250 | 10 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 18
BUTTERFLY | 250 | 10 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | DI | D=316 S= NBR ST=316 | 30
BUTTERFLY | 250 | 10 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CF8M | D=316 S=PTFE ST=316 | 8
BUTTERFLY | 300 | 12 | 125 | CL. | FLANGED | SUPERSEAL | LINED GO | DI | D=316 S=BUNA ST=316 | 2
BUTTERFLY | 300 | 12 | 125 | CL. | WAFER | SUPERSEAL | LINED GO | DI | D=BRZ S=EPDM S=BRZ | 7
BUTTERFLY | 300 | 12 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE NF GO | CF8 | D=316 SI=RPTFE ST=316 | 1
BUTTERFLY | 300 | 12 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=316 | 4
BUTTERFLY | 300 | 12 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 2
BUTTERFLY | 300 | 12 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP TE FS GO API598 | CF8M | D=316 S=METAL ST=F51+ENP | 2
BUTTERFLY | 300 | 12 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE NF GO | WCB | D=316 SI=RPTFE ST=316 | 2
BUTTERFLY | 300 | 12 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 S=CPTFE ST=316 | 9
BUTTERFLY | 300 | 12 | 150 | CL. | WAFER | SUPERSEAL | LINED GO | CF8M | D=316 S=PTFE ST=316 | 2
BUTTERFLY | 300 | 12 | 150 | CL. | LUGGED | SUPERSEAL | LINED GO 20 BAR | DI | D=316 S=NBR ST=316 | 14
BUTTERFLY | 300 | 12 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO ISO 5208-A | WCB | D=316LAM S=STELLITE ST=17-4 PH+ENP | 3
BUTTERFLY | 300 | 12 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 4
BUTTERFLY | 300 | 12 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HD DE NF GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 4
BUTTERFLY | 300 | 12 | 300 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 3
BUTTERFLY | 300 | 12 | 600 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 300 | 12 | PN16 |  | WAFER | SUPERSEAL | LINED GO AS4087 | CI | D=316 S=VITON ST=316 | 3
BUTTERFLY | 300 | 12 | PN16 |  | WAFER | SUPERSEAL | LINED GO AS4087 | CI | D=316 S=EPDM ST=316 | 18
BUTTERFLY | 300 | 12 | PN16 |  | WAFER | SUPERSEAL | LINED LO AS4087 | CI | D=316 S=BUNA ST=316 | 26
BUTTERFLY | 300 | 12 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | 316 | D=PTFE S=PTFE ST=PTFE | 4
BUTTERFLY | 300 | 12 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=VITON ST=316 | 3
BUTTERFLY | 300 | 12 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 18
BUTTERFLY | 300 | 12 | TABLE E |  | WAFER | SUPERSEAL | LINED LO | CI | D=316 S=BUNA ST=316 | 26
BUTTERFLY | 300 | 12 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | 316 | D=316 S=EPDM ST=316 | 6
BUTTERFLY | 300 | 12 | TABLE E |  | LUGGED | SUPERSEAL | LINED LO | CI | D=316 S=EPDM ST=316 | 9
BUTTERFLY | 350 | 14 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF GO | CF8M | D=316 SI=PTFE ST=F51+ENP | 1
BUTTERFLY | 350 | 14 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 6
BUTTERFLY | 350 | 14 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO ISO 5208-A | WCB | D=316+LAMINATE S=STELLITE ST=17-4 PH ENP | 3
BUTTERFLY | 350 | 14 | 150 | CL. | WAFER | APV-SUPERSEAL | HP DE FS GO | WCC | D=316 SI=RPTFE ST=17-4 PH | 3
BUTTERFLY | 350 | 14 | 150 | CL. | LUGGED | SUPERSEAL | LINED GO | DI | D=316 SI=NBR ST=316 | 2
BUTTERFLY | 350 | 14 | 300 | CL. | RF FLANGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 S=RPTFE ST=17-4 PH | 1
BUTTERFLY | 350 | 14 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO ISO 5208-A | WCB | D=316+LAMINATE S=STELLITE ST=17-4 PH+ENP | 3
BUTTERFLY | 350 | 14 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 2
BUTTERFLY | 350 | 14 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 6
BUTTERFLY | 350 | 14 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 9
BUTTERFLY | 350 | 14 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 3
BUTTERFLY | 400 | 16 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE NF GO | 304 | D=304 S=VITON | 1
BUTTERFLY | 400 | 16 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | CF8M | D=316 SI=RPTFE ST=F51+ENP | 2
BUTTERFLY | 400 | 16 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 400 | 16 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 1
BUTTERFLY | 400 | 16 | 150 | CL. | RF WAFER | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 1
BUTTERFLY | 400 | 16 | 150 | CL. | FLANGED | SUPERSEAL | LINED GO 20 BAR | DI | D=316 S=BUNA ST=316 | 2
BUTTERFLY | 400 | 16 | 150 | CL. | LUGGED | SUPERSEAL | LINED GO | DI | D=316 SI=NBR ST=316 | 2
BUTTERFLY | 400 | 16 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 4
BUTTERFLY | 400 | 16 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 4
BUTTERFLY | 400 | 16 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 7
BUTTERFLY | 400 | 16 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 8
BUTTERFLY | 450 | 18 | 125 | CL. | WAFER | SUPERSEAL | LINED GO 20 BAR | CI | D=316 S=BUNA ST=316 | 4
BUTTERFLY | 450 | 18 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 450 | 18 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE NF GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 2
BUTTERFLY | 450 | 18 | 300 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO ISO 5208-A | WCB | D=316 +LAMINATE SI=STELLITE ST=17-4 PH+ENP | 1
BUTTERFLY | 450 | 18 | PN16 |  | LUGGED | SUPERSEAL | LINED GO AS4087 PN14/16 (TABLE D) | DI | D=316 S=NBR | 2
BUTTERFLY | 450 | 18 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 4
BUTTERFLY | 450 | 18 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 8
BUTTERFLY | 450 | 18 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 8
BUTTERFLY | 500 | 20 | 125 | CL. | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 3
BUTTERFLY | 500 | 20 | 125 | CL. | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 3
BUTTERFLY | 500 | 20 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCC | D=316 SI=RPTFE ST=17-4PH | 2
BUTTERFLY | 500 | 20 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP TE FS GO | WCC | D=316+LAMINATE S=STL#6 ST=17-4PH+ENP | 2
BUTTERFLY | 500 | 20 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 3
BUTTERFLY | 500 | 20 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 4
BUTTERFLY | 500 | 20 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 5
BUTTERFLY | 600 | 24 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4 PH | 1
BUTTERFLY | 600 | 24 | 150 | CL. | RF LUGGED | APV-SUPERSEAL | HP DE FS GO ISO 5208-A | WCB | D=316+LAMINATE S=STELLITE ST=17-4 PH+ENP | 1
BUTTERFLY | 600 | 24 | 150 | CL. | LUGGED | SUPERSEAL | LINED GO 16 BAR | DI | D=316 S=NBR ST=316 | 1
BUTTERFLY | 600 | 24 | 300 | CL. | RF FLANGED | APV-SUPERSEAL | HP DE FS GO ISO 5208-A | WCB | D=316+LAMINATE S=STELLITE ST=17-4 PH+ENP | 1
BUTTERFLY | 600 | 24 | TABLE E |  | WAFER | OKM | LINED GO | CI | D=316 S=BUNA ST=316 | 5
BUTTERFLY | 600 | 24 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=BUNA ST=316 | 7
BUTTERFLY | 600 | 24 | TABLE E |  | WAFER | SUPERSEAL | LINED GO | CI | D=316 S=EPDM ST=316 | 5
BUTTERFLY | 600 | 24 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | DI | D=316 S=BUNA ST=316 | 2
BUTTERFLY | 600 | 24 | TABLE E |  | LUGGED | SUPERSEAL | LINED GO | DI | D=316 S=EPDM ST=316 | 4
BUTTERFLY | 600 | 24 | TABLE E |  | FLANGED | SUPERSEAL | LINED GO | CI | D=BRZ S=NBR ST=BRZ | 1
BUTTERFLY | 750 | 30 | 150 | CL. | LUGGED | APV-SUPERSEAL | HP DE FS GO | WCB | D=316 SI=RPTFE ST=17-4PH+ENP | 1
BUTTERFLY | 750 | 30 | 150 | CL. | RF FLANGED | APV-SUPERSEAL | HP TE FS GO ISO 5208(A) | WCB | D=316/LAMINATE S=316 METAL ST=17-4 PH+ENP | 1
BUTTERFLY | 750 | 30 | TABLE D |  | LUGGED | SUPERSEAL | LINED GO AS4087PN14/PN16 DRILLING | CI | D=316 S=EPDM ST=316 | 3
BUTTERFLY | 900 | 36 | TABLE D |  | LUGGED | SUPERSEAL | LINED GO AS4087PN14/PN16 DRILLING | CI | D=ENP S=NBR ST=304 | 1
www.globalsupplyline.com.au
Butterfly- valve-stock-ANSI.xls
SORT ORDER B,D,G,I,F
www.globalsupplyline.com.au
SIZES
8MM NB .25 INCH (¼ INCH) 175MM NB 7 INCH
10MM NB .375 INCH (⅜ INCH) 200MM NB 8 INCH
15MM NB .5 INCH (½ INCH) 250MM NB 9 INCH
20MM NB .75 INCH (¾ INCH) 300MM NB 10 INCH
25MM NB 1 INCH 350MM NB 12 INCH
32MM NB 1.25 INCH (1¼ INCH) 375MM NB 14 INCH
40MM NB 1.5 INCH (1½ INCH) 400MM NB 16 INCH
50MM NB 2 INCH 450MM NB 18 INCH
65MM NB 2.5 INCH (2½ INCH) 600MM NB 22 INCH
80MM NB 3 INCH 700MM NB 26 INCH
100MM NB 4 INCH 750MM NB 30 INCH
125MM NB 5 INCH 800MM NB 36 INCH
150MM NB 6 INCH 900MM NB 40 INCH
SPECIALS
CRYOGENIC, HIGH TEMPERATURE, LOW TEMPERATURE, ESD EMERGENCY SHUTDOWN.
BRANDS
AUSTRALIAN PIPELINE VALVE, SUPERSEAL, TTV SPAIN, JC SPAIN
ABBREVIATIONS:- 2P=2 PIECE BODY, BUNA=BUNA-N, CLV=ANSI CLASS 5 SHUT OFF, CLVI=ANSI CLASS 6 BUBBLE TIGHT SHUT OFF, CRYO=CRYOGENIC,
CWP=COLD WORKING PRESSURE, D=DISC, DA=DOUBLE ACTING, DE=DOUBLE ECCENTRIC (DOUBLE OFFSET), EX ST=EXTENDED STEM,
F44=DUPLEX-INCONEL 6MO, F53=SUPER DUPLEX, FS=FIRESAFE, GO=GEAR OPERATED, GRP PKG=GRAPHITE PACKING, HP=HIGH PERFORMANCE,
HT=HIGH TEMPERATURE, LO=LEVER OPERATED C/W NOTCH PLATE, MP=MOUNT PAD, METAL=METAL SEAT, NF=NON FIRESAFE, PKG=PACKING,
PNEU=PNEUMATIC ACTUATOR, RF=RAISED FACE, S=SEAT, SF=SMOOTH FINISH (CONCENTRIC SERRATED 3.2 TO 6.3RA)(125 TO 250AARH), SI=SEAT INSERT,
SR=SPRING RETURN, ST=STEM, TE=TRIPLE ECCENTRIC (TRIPLE OFFSET).
CERTIFICATION:- MATERIAL AND TEST CERTIFICATION TO EN10204-3.1 (DIN500493.1) (FORMERLY 500493.1B)
GLOBAL SUPPLY LINE PRODUCT RANGE BUTTERFLY VALVES
RUBBER LINED API609, PTFE (TEFLON) LINED, HIGH PERFORMANCE WITH DOUBLE ECCENTRIC OFFSET DISC OR TRIPLE ECCENTRIC OFFSET DISC,
PTFE OR METAL TO METAL SEATED CLASS V AND CLASS VI SHUTOFF, FIRESAFE, LEVER OR GEAR OPERATED OR WITH PNEUMATIC ACTUATOR. BUNA (NBR SEAT),
VITON SEAT, EPDM SEAT. ALSO AVAILABLE IN THE FOLLOWING LINERS: - 2100 KPA, 2500 KPA, 3000 KPA, 4000 KPA.
ANSI END CONNECTIONS: - ANSI RTJ (RING JOINT) FLANGED, SOCKETWELD, ANSI RF FLANGED (SMOOTH FINISH), LONG EXTENDED PUP ENDS, NPT, BSP, PBE,
BUTTWELD STANDARD WEIGHT.
BUTTWELD SCHEDULE 40, BUTTWELD SCHEDULE 80, BUTTWELD SCHEDULE 160, BUTTWELD SCHEDULE XXS.
OTHER END CONNECTIONS: - FLANGED BS TABLE D (AS TABLE D), FLANGED BS TABLE E (AS TABLE E), FLANGED BS TABLE F (AS TABLE F), FLANGED BS TABLE H (AS TABLE H),
FLANGED BS TABLE J (AS TABLE J), FLANGED BS TABLE K (AS TABLE K), FLANGED BS TABLE R (AS TABLE R).
FLANGED: - PN16, PN10, PN25, JIS10, DIN10, DIN16, ANSI 125 CLASS, ANSI 150 CLASS, ANSI 300 CLASS.
NACE MR-01-75, H2S SERVICE.
MATERIAL: - WCB, A105N, LF2, CAST IRON, DUCTILE IRON, F22, F11, WC6, WC5, ALLOY 20 (A20), MONEL, DUPLEX (F51), LF2 (LOW TEMPERATURE), LCB, 304, CF8, CF8M, 316, 304L,
316L, CF3, CF3M, CF8G, 347, CE8M, S31803, SAF2205, F5.
OPERATOR: - LOCKABLE, GEN-OPERATED, EXTENDED BONNET, EXTENDED STEM, CHAIN WHEEL OPERATED, PNEUMATIC ACTUATOR, ELECTRIC ACTUATOR, ESD.
END CONNECTION STYLES: - LUGGED, FULLY LUGGED AND TAPPED, DUAL FLANGED, FLANGELESS.
ANSI CLASS 125, ANSI CLASS 150, ANSI CLASS 300, ANSI CLASS 600, ANSI CLASS 900, ANSI CLASS 1500, ANSI CLASS 2500, ANSI CLASS 2690.
STANDARDS HIGH PERFORMANCE BUTTERFLY VALVE:- MSS SP68, API609, ISO 5752
DIMENSIONS:- TO ANSI B16. MSS, BS
DESIGN PRESSURE/TEMP:- ANSI B16.34, AS, BS
DISC TYPE:- ECCENTRIC, DOUBLE ECCENTRIC (DOUBLE OFFSET), TRIPLE ECCENTRIC, LINED
END CONNECTIONS:- ANSI B16.5, ANSIB16.1, ANSIB16.25, BS21
FIRESAFE STANDARDS:- API607 5TH EDITION, API6FA 3RD EDITION
AVAILABLE SEAT TYPES:- PTFE, FEP, RPTFE, METAL, HARDFACED (STELLITE)
SHUT OFF CLASS:- ANSI CLASS V, ANSI CLASS VI BI-DIRECTIONAL
BODY MATERIALS:- ASTM A105N, A216 WCB, A216 LCB ASTM A350 LF2, ASTM A351 CF8, ASTM A351 CF8M, DUPLEX, SUPER DUPLEX, AUSTENITIC ASTM A216 GR WCB, ASTM A351 GR CF8M, A216 GR LCB, ASTM A182 F51, ALLOY 20 - CN7M, ASTM A182 F316L, ASTM A182 F316, ASTM A182 F304L, ASTM A182 F304
END TYPES:- WAFER AND FLANGED ANSI RF (SMOOTH FINISH, STOCK FINISH), WAFER AND FLANGED ANSI RING JOINT (RING GROOVE), WAFER AS TABLE C, D, E, F, H, J
WAFER BS TABLE C, D, E, F, H, J
TRIM TYPES:- 410SS (F6, F6A) ASTM A182 316L (316LSS), ASTM A182 316 (316SS), ASTM A182 304L (304LSS), ASTM A182 304 (304SS) VITON, BRONZE, ALUMINIUM BRONZE, ALLOY 20, DUPLEX, STELLITE HF (HARD FACE) NACE MR-01-75.
THIS LIST INCLUDES BUTTERFLY VALVES FUSION BONDED EPOXY COATED CAST IRON AND DUCTILE IRON, STEEL ANS STAINLESS STEEL, HIGH PERFORMANCE, RUBBER LINED AND SOLID PTFE LINED IN NB:- 50MM, 65MM, 80MM, 100MM, 125MM, 150MM, 200MM, 250MM, 300MM, 350MM, 375MM, 400MM, 450MM, 500MM, 550MM, 600MM, 650MM, 700MM, 750MM, 800MM, 825MM, 850MM, 900MM, 1000MM, 1050MM, 1100MM, 1200MM, 1250MM, 1350MM, 1500MM, 1800MM, 2100MM, 2700MM, 3000MM, (2 INCH, 2.5 INCH, 3 INCH, 4 INCH, 5 INCH, 6 INCH, 8 INCH, 10INCH, 12 INCH, 14 INCH, 15 INCH, 16 INCH, 18 INCH, 20 INCH, 24 INCH, 26 INCH, 28 INCH, 30 INCH, 32INCH, 34 INCH, 36 INCH, 40 INCH AND 48 INCH NOMINAL BORE) ASME/ANSI CLASS 125, CLASS 150, CLASS 300, CLASS 600, CLASS 900, CLASS 1500, CLASS 2500 AS TABLE D, E, F AND BS TABLE D, E,F AND PN10, PN16, PN25
WE CAN SUPPLY EQUIVALENT OR SIMILAR DESIGN HIGH PERFORMANCE AND LINED BUTTERFLY VALVES TO:- AMRI ™, BRAY ™, DEMCO ™, DEZURIK ™, FLOWSEAL ™, JAMESBURY ™, JOHNS™, NBS ™, OKM ™ KEYSTONE ™
AMRI™ IS A REGISTERED TRADEMARK OF KSB AMRI INC, BRAY™ IS A REGISTERED TRADEMARK OF BRAY INTERNATIONAL, DEMCO™ IS A REGISTERED TRADEMARK OF CAMERON AND SCHLUMBERGER, DEZURIK™ IS A REGISTERED TRADEMARK OF APCO, HILTON AND WILAMETTE, KEYSTONE ™ IS A REGISTERED TRADEMARK OF EMERSON, JAMESBURY™ IS A REGISTERED TRADEMARK OF METSO, JOHNS™ IS A REGISTERED TRADEMARK OF JOHN VALVES, NBS™ IS A REGISTERED TRADEMARK OF NBS CORPORATION, OKM™ IS A REGISTERED TRADEMARK OF RUAMCHAROEN ENGINEERING AND SUPPLIES THESE BRANDS ARE NOT AFFILIATED WITH GLOBAL SUPPLY LINE OR AUSTRALIAN PIPELINE VALVE. GLOBAL SUPPLY LINE OR AUSTRALIAN PIPELINE VALVE IS NOT CLAIMING THAT OUR VALVES IS A COPY OR IDENTICAL TO THEIR VALVE
WE STOCK AS4795.1 CAST IRON AND DUCTILE IRON AND FULL 316/CF8M, STAINLESS STEEL. BUTTERLY VALVES IN VITON, BUNA, NBR, PTFE AND VITON LINED.
50NB TO 750NB FLANGED TO ASME 125LB AND AS2129 TABLE D TO F AS WELL AS AS4331.1 AS4331.2, AS4087, PN10, PN14, PN16, PN21, PN25, PN35 AND ISO7005-1, ISO7005.2, EN1092-1, EN1092-2.